## FRO Targets
Frequency Response Obligation of Control Areas in Northern Region for FY 2024-25 | [5 empty] | Frequency Response Obligation of Control Areas in Western Region for FY 2024-25 | [5 empty] | Frequency Response Obligation of Control Areas in Southern Region for FY 2024-25 | [5 empty] | Frequency Response Obligation of Control Areas in Eastern Region for FY 2024-25 | [5 empty] | Frequency Response Obligation of Control Areas in North Eastern Region for FY 2024-25 | [5 empty] | Frequency Response Obligation of Nepal & Bhutan for FY 2024-25
Northern Region | [5 empty] | Western Region | [5 empty] | Southern Region | [5 empty] | Eastern Region | [5 empty] | North Eastern Region | [5 empty] | Transnational | [5 empty] | The Frequency Response Obligation (FRO) of each control area shall be calculated as:
Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz) |  | Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz) |  | Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz) |  | Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz) |  | Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz) |  | Sl. No. | States | Av.Generation (MW) | Av. Demand (MW) | FRO (MW/Hz)
|  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours
1 | Punjab | 4321.8721 | 7936.597 | 796.4021 | 511.9728 | 1 | Chhattisgarh | 2309.067 | 4409.1589 | 436.4664 | 280.5855 | 1 | Andhra Pradesh | 5781.9963 | 9091.9963 | 966.3262 | 621.2097 | 1 | Bihar | 346.8205 | 4626.615 | 323.1117 | 207.7147 | 1 | Arunachal Pradesh | 3.7249 | 107.4395 | 7.2221 | 4.6428 | 1 | Nepal | 129 | 378 | 32.9385 | 21.1748
2 | Haryana | 2319.8276 | 7139.4874 | 614.5481 | 395.0666 | 2 | DNHDD* | 0 | 1191.9635 | 0 | 0 | 2 | Karnataka | 6658.3841 | 10389.3841 | 1107.5509 | 711.997 | 2 | DVC | 4834.5748 | 3127.2395 | 517.2592 | 332.5238 | 2 | Assam | 275.2831 | 1390.0879 | 108.195 | 69.5539 | 2 | Bhutan | 752 | 214 | 62.7586 | 40.3448 | FRO = (Control Area average Demand + Control Area average Generation) * minimum all India Target Frequency Response Characteristic / (Sum of average demand of all control areas + Sum of average generation of all control areas)
3 | Rajasthan | 8239.3037 | 11846.6084 | 1304.9316 | 838.8846 | 3 | Gujarat | 9242.2778 | 16826.3404 | 1693.613 | 1088.7512 | 3 | Kerala | 702.6796 | 3373.6796 | 264.8309 | 170.2484 | 3 | Jharkhand | 268.5681 | 1327.6989 | 103.7055 | 66.6678 | 3 | Manipur* | 0 | 110.1895 | 0 | 0
4 | Delhi | 455.0959 | 3958.7546 | 286.7568 | 184.3437 | 4 | Goa* | 0 | 482.7326 | 0 | 0 | 4 | Tamil Nadu | 6936.6558 | 14313.6558 | 1380.5797 | 887.5155 | 4 | Odisha | 3164.0863 | 4763.8806 | 515.0602 | 331.1101 | 4 | Meghalaya | 98.1153 | 238.742 | 21.8848 | 14.0688
5 | Uttar Pradesh | 10145.621 | 16632.5251 | 1739.7093 | 1118.3845 | 5 | Madhya Pradesh | 5039.4452 | 11047.5112 | 1045.1294 | 671.8689 | 5 | Telangana | 5123.8479 | 9667.8479 | 960.9796 | 617.7726 | 5 | West Bengal | 5234.5265 | 7213.0102 | 808.6854 | 519.8692 | 5 | Mizoram | 16.5839 | 70.559 | 5.6615 | 3.6395
6 | Uttarakhand | 672.7774 | 1761.2032 | 158.1296 | 101.6548 | 6 | Maharashtra | 15415.4143 | 23549.3621 | 2531.4442 | 1627.357 | 6 | Puducherry* | 0 | 365 | 0 | 0 | 6 | Sikkim* | 0 | 60.7347 | 0 | 0 | 6 | Nagaland | 9.1507 | 103.4852 | 7.3177 | 4.7042
7 | Chandigarh* | 0 | 199.4977 | 0 | 0 | 7 | Arcelor Mittal Nippon Steel India Limited | 374.4912 | 752.2542 | 73.2018 | 47.0583 | [12 empty] | 7 | Tripura | 138.0936 | 322.4167 | 29.9182 | 19.2331
8 | Himachal Pradesh | 741.6062 | 1360.54 | 136.5712 | 87.7958 | 8 | Bharat Aluminium Company Ltd (Bulk Consumer)* | 0 | 516 | 0 | 0
9 | J&K(UT) and Ladakh(UT) | 592.7671 | 2255.7119 | 185.0586 | 118.9662 | [30 empty] | Denominator | 359153.9172
sum | Northern Region | 27488.871 | 52891.4276 | 5222.1073 | 3357.069 | sum | Western Region | 32380.6955 | 56584.6267 | 5779.8549 | 3715.621 | sum | Southern Region | 25203.5637 | 46836.5637 | 4680.2672 | 3008.7432 | sum | Eastern Region | 13848.5762 | 21058.4442 | 2267.822 | 1457.8855 | sum | North Eastern Region | 540.9515 | 2232.7303 | 180.1992 | 115.8423 | sum | Transnational | 881 | 592 | 95.6971 | 61.5196
Solar Hours
Sl. No. | Entity | Capacity (MW) | Av.Generation (MW) | FRO (MW/Hz) |  | Sl. No. | Entity | Capacity (MW) | Av.Generation (MW) | FRO (MW/Hz) |  | Sl. No. | Entity | Capacity (MW) | Av.Generation (MW) | FRO (MW/Hz) |  | Sl. No. | Entity | Capacity (MW) | Av.Generation (MW) | FRO (MW/Hz) |  | Sl. No. | Entity | Capacity (MW) | Av.Generation (MW) | FRO (MW/Hz) | [7 empty] | FRC Target | 23333.3333
|  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours |  |  |  |  | Solar Hours | Non-Solar Hours | [6 empty] | FRC Check | 23333.3333
1 | Dadri-1 (TH) | 840 | 489.678 | 31.8132 | 20.4513 | 1 | ACB (India) Limited + Maruti Clean Coal and Power Limited (TH) | 793 | 525.7347 | 34.1557 | 21.9572 | 1 | Coastal Energen Pvt Ltd., (TH) | 1200 | 577.4615 | 37.5162 | 24.1176 | 1 | BARH-II (TH) | 1320 | 895.6981 | 58.1913 | 37.4087 | 1 | Bongaigaon Thermal Power Plant (TH) | 750 | 536.0694 | 34.8271 | 22.3888
2 | Dadri -2 (TH) | 980 | 611.1597 | 39.7055 | 25.525 | 2 | Adani Power Limited - Raigarh TPP (TH) | 600 | 427.4009 | 27.7672 | 17.8503 | 2 | Infrastructure Leasing & Financial Services (IL&FS) (TH) | 1200 | 700.23 | 45.4922 | 29.245 | 2 | BARH-I (TH) | 1320 | 659.1373 | 42.8225 | 27.5288 | 2 | ONGC Tripura Power Company Limited, Palatana (G) | 727 | 536.3411 | 34.8447 | 22.4002
3 | Jhajjar (TH) | 1500 | 874.4047 | 56.8079 | 36.5194 | 3 | Adani Power Limited-Raipur TPP (TH) | 1370 | 880.3852 | 57.1964 | 36.7691 | 3 | Meenakshi Energy Limited (TH)^ | 1000 | 0 | 0 | 0 | 3 | FARAKKA-I (TH) | 1600 | 1086.2394 | 70.5703 | 45.3666 | 3 | Doyang Hydro Power Station (H) | 75 | 46.7913 | 3.0399 | 1.9542 | [6 empty] | Non-Solar Hours
4 | Rihand-1 (TH) | 1000 | 853.1919 | 55.4298 | 35.6334 | 4 | Bharat Aluminium Company Ltd. (TH) | 1200 | 775.9764 | 50.4132 | 32.4085 | 4 | New Neyveli Thermal Power Project (TH) | 1000 | 719.7119 | 46.7579 | 30.0586 | 4 | FARAKKA-II (TH) | 500 | 404.0352 | 26.2492 | 16.8745 | 4 | Kameng Hydro Power Station (H) | 600 | 311.6511 | 20.2472 | 13.0161 | [6 empty] | FRC Target | 15000
5 | Rihand-2 (TH) | 1000 | 835.1232 | 54.2559 | 34.8788 | 5 | D B Power Limited (TH) | 1200 | 941.5946 | 61.1731 | 39.3255 | 5 | Neyveli Thermal Power Station -1 Expansion (TH) | 420 | 282.9394 | 18.3819 | 11.8169 | 5 | KAHALGAON I (TH) | 840 | 544.9904 | 35.4067 | 22.7614 | 5 | Khandong Hydro Power Station (H)^ | 50 | 0 | 0 | 0 | [6 empty] | FRC Check | 15000
6 | Rihand-3 (TH) | 1000 | 846.7511 | 55.0113 | 35.3644 | 6 | Dhariwal Iinfrastructure Limited (TH) | 600 | 383.1755 | 24.894 | 16.0033 | 6 | Neyveli Thermal Power Station 2 - Stage 1 (TH) | 630 | 255.9228 | 16.6267 | 10.6886 | 6 | KAHALGAON II (TH) | 1500 | 1118.1049 | 72.6405 | 46.6975 | 6 | Khandong Stg-2 Hydro Power Station (H) | 25 | 24.8242 | 1.6128 | 1.0368
7 | Shree Cement (TH) | 300 | 201.2007 | 13.0715 | 8.4031 | 7 | GMR Warora Energy Limited (TH) | 1370 | 470.3885 | 30.56 | 19.6457 | 7 | Neyveli Thermal Power Station 2 - Stage 2 (TH) | 840 | 277.5396 | 18.0311 | 11.5914 | 7 | NABINAGAR (TH) | 1980 | 1626.1423 | 105.6464 | 67.9155 | 7 | Kopili Hydro Power Station (H) | 200 | 89.8749 | 5.839 | 3.7536 | [6 empty] | Solar Hour
8 | Singrauli (TH) | 2000 | 1590.9588 | 103.3606 | 66.4461 | 8 | Jaypee Nigrie Super Thermal Power Plant (TH) | 1320 | 937.0926 | 60.8806 | 39.1375 | 8 | Neyveli Thermal Power Station -2 Expansion (TH) | 500 | 229.939 | 14.9386 | 9.6034 | 8 | TALCHER STG-I (TH) | 1000 | 837.1842 | 54.3898 | 34.9649 | 8 | Loktak Hydro Power Station (H) | 105 | 41.4484 | 2.6928 | 1.7311 | [6 empty] | Region | State Control Area FRO (MW/Hz) | Conventional ISGS and IPP FRO (MW/Hz) | Regional Control Area FRO (MW/Hz) | Share of Regional Control Area w.r.t. All India
9 | Tanda-2 (TH) | 1320 | 997.3139 | 64.793 | 41.6526 | 9 | Jhabua Power Limited (TH) | 600 | 372.0642 | 24.1721 | 15.5392 | 9 | NLC Tamil Nadu Power Limited (NTPL) (TH) | 1000 | 615.1527 | 39.9649 | 25.6917 | 9 | DARIPALI (TH) | 1600 | 1282.1225 | 83.2963 | 53.5476 | 9 | Panyor Lower Hydro Power Station (H) | 405 | 251.4765 | 16.3378 | 10.5029 | [6 empty] | Northern Region | 5222.1073 | 1051.5139 | 6273.6213 | 26.89%
10 | Unchahar stg-4 (TH) | 500 | 343.3267 | 22.3051 | 14.339 | 10 | Jindal Power Limited, Stage-1 (TH) | 1000 | 640.3825 | 41.6041 | 26.7455 | 10 | NTPC Kudgi (TH) | 2400 | 1280.7663 | 83.2082 | 53.491 | 10 | TEESTA-V (H) | 510 | 428.4836 | 27.8375 | 17.8955 | 10 | Pare Hydro Power Station (H) | 110 | 89.1324 | 5.7907 | 3.7226 | [6 empty] | Western Region | 5779.8549 | 2131.8111 | 7911.666 | 33.91%
11 | Unchahar (TH) | 1050 | 628.1684 | 40.8105 | 26.2353 | 11 | Jindal Power Limited, Stage-2 (TH) | 2400 | 1853.2536 | 120.4013 | 77.4008 | 11 | NTPC Ramagundam Super Thermal Power Station (TH) | 2100 | 1402.5159 | 91.118 | 58.5758 | 11 | TEESTA-III (H) | 1200 | 790.5582 | 51.3606 | 33.0175 | [12 empty] | Southern Region | 4680.2672 | 864.3037 | 5544.5709 | 23.76%
12 | Anta (G) | 419 | 129.9267 | 8.441 | 5.4264 | 12 | Jindal Steel & Power Ltd , DCPP (TH) | 270 | 98.0081 | 6.3673 | 4.0933 | 12 | NTPC Ramagundam Super Thermal Power Station - Stage 3 (TH) | 500 | 388.6256 | 25.248 | 16.2309 | 12 | DIKCHU (IPP) | 96 | 84.3273 | 5.4785 | 3.5219 | [12 empty] | Eastern region | 2267.822 | 934.525 | 3202.3469 | 13.72%
13 | Auraiya (G) | 663 | 167.9243 | 10.9096 | 7.0133 | 13 | KSK Mahanadi Power Company Limited (TH) | 2400 | 1137.9025 | 73.9267 | 47.5243 | 13 | NTPC Simhadri Stage -2 (TH) | 1000 | 660.9529 | 42.9405 | 27.6046 | 13 | TASHIDING (H) | 97 | 64.4857 | 4.1895 | 2.6932 | [12 empty] | North-Eastern Region | 180.1992 | 125.232 | 305.4311 | 1.309%
14 | Dadri (G) | 830 | 286.0265 | 18.5824 | 11.9458 | 14 | LANCO Amarkantak Power Limited (TH) | 600 | 385.8647 | 25.0687 | 16.1156 | 14 | NTPC Simhadri Stage-1(TH) | 1000 | 632.2438 | 41.0753 | 26.4056 | 14 | ADHUNIK (IPP-TH) | 540 | 375.2476 | 24.3789 | 15.6721 | [12 empty] | Transnational | 95.6971 |  | 95.6971 | 0.4101%
15 | AD Hydro (H) | 192 | 109.5576 | 7.1177 | 4.5757 | 15 | Mahan Energen Limited. (TH) | 1200 | 660.0436 | 42.8814 | 27.5666 | 15 | NTPC Talcher Stage - 2(TH) | 2000 | 1603.2571 | 104.1596 | 66.9598 | 15 | CHUZACHEN (IPP-H) | 110 | 83.4186 | 5.4195 | 3.484 | [12 empty] | All India | 18225.9477 | 5107.3856 | 23333.3333 | 99.59%
16 | Bairasiul (H) | 180 | 88.8243 | 5.7707 | 3.7097 | 16 | MB Power (Madhya Pradesh) Limited (TH) | 1200 | 895.0148 | 58.1469 | 37.3801 | 16 | NTPC TamilNadu Energy Company Ltd.,(TH) | 1500 | 879.526 | 57.1406 | 36.7332 | 16 | GMR (IPP-TH) | 700 | 577.9097 | 37.5454 | 24.1363
17 | Bhakra (H) | 1415 | 782.1629 | 50.8152 | 32.6669 | 17 | NTPC Gadarwara (TH) | 1600 | 1023.5336 | 66.4964 | 42.7477 | 17 | NTPC Telangana Super Thermal Power Plant(TH) | 1600 | 1277 | 82.9635 | 53.3337 | 17 | MAITHON.RT BK (IPP-TH) | 1050 | 818.5473 | 53.179 | 34.1865 | [12 empty] | Non-Solar Hour
18 | Budhil (H) | 70 | 53.1977 | 3.4561 | 2.2218 | 18 | NTPC Khargone (TH) | 1320 | 769.8559 | 50.0156 | 32.1529 | 18 | Sembcorp Energy India Limited Project-1(TH) | 1320 | 1015.8462 | 65.997 | 42.4266 | 18 | JITPL (IPP-TH) | 1200 | 916.9738 | 59.5735 | 38.2973 | [12 empty] | Region | State Control Area FRO (MW/Hz) | Conventional ISGS and IPP FRO (MW/Hz) | Regional Control Area FRO (MW/Hz) | Share of Regional Control Area w.r.t. All India
19 | Chamera-1 (H) | 540 | 298.2592 | 19.3772 | 12.4567 | 19 | NTPC Korba Stage I &II (TH) | 2100 | 1774.2824 | 115.2707 | 74.1026 | 19 | Sembcorp Energy India Limited Project-2(TH) | 660 | 504 | 32.7436 | 21.0495 | 19 | BRBCL (TH) | 1000 | 714.0548 | 46.3904 | 29.8224 | [12 empty] | Northern Region | 3357.069 | 675.9732 | 4033.0422 | 26.89%
20 | Chamera-2 (H) | 300 | 219.8207 | 14.2812 | 9.1808 | 20 | NTPC Korba Stage III (TH) | 500 | 446.7733 | 29.0257 | 18.6594 | [6 empty] | 20 | NORTH KARANPURA (TH) | 660 | 582.6898 | 37.8559 | 24.3359 | [12 empty] | Western Region | 3715.621 | 1370.45 | 5086.071 | 33.91%
21 | Chamera-3 (H) | 231 | 170.5701 | 11.0815 | 7.1238 | 21 | NTPC Lara Stage I (TH) | 1600 | 1230.1202 | 79.9178 | 51.3758 | [6 empty] | 21 | CHUKHA (H) | 336 | 91.5969 | 5.9508 | 3.8255 | [12 empty] | Southern Region | 3008.7432 | 555.6238 | 3564.367 | 23.76%
22 | Dehar (H) | 990 | 327.0956 | 21.2506 | 13.6611 | 22 | NTPC Mouda Stage I (TH) | 1000 | 746.1897 | 48.4781 | 31.1645 | [6 empty] | 22 | MANGDECCHU (H) | 720 | 347.4015 | 22.5698 | 14.5092 | [12 empty] | Eastern region | 1457.8855 | 600.766 | 2058.6516 | 13.72%
23 | Dhauliganga (H) | 280 | 173.8421 | 11.2941 | 7.2605 | 23 | NTPC Mouda Stage II (TH) | 1320 | 860.1133 | 55.8794 | 35.9225 | [6 empty] | 23 | TALA (H) | 1020 | 55.1493 | 3.5829 | 2.3033 | [12 empty] | North-Eastern Region | 115.8423 | 80.5063 | 196.3486 | 1.309%
24 | Dulhasti (H) | 390 | 290.7507 | 18.8893 | 12.1432 | 24 | NTPC SAIL Power Company Limited (TH) | 500 | 421.5182 | 27.385 | 17.6046 | [24 empty] | Transnational | 61.5196 |  | 61.5196 | 0.4101%
25 | Karcham (H) | 1045 | 523.6526 | 34.0204 | 21.8703 | 25 | NTPC Sipat Stage I (TH) | 1980 | 1562.3382 | 101.5012 | 65.2508 | [24 empty] | All India | 11716.6807 | 3283.3193 | 15000 | 99.59%
26 | Kishenganga | 330 | 213.0269 | 13.8398 | 8.897 | 26 | NTPC Sipat Stage II (TH) | 1000 | 795.8323 | 51.7032 | 33.2378
27 | Koldam (H) | 800 | 632.2229 | 41.0739 | 26.4047 | 27 | NTPC Solapur (TH) | 1320 | 778.9596 | 50.6071 | 32.5331
28 | Koteswar (H) | 400 | 147.0363 | 9.5526 | 6.1409 | 28 | NTPC Vindhyachal Stage I (TH) | 1260 | 979.3345 | 63.6249 | 40.9017
29 | Malana-2 (H)^ | 186 | 0 | 0 | 0 | 29 | NTPC Vindhyachal Stage II (TH) | 1000 | 844.8656 | 54.8888 | 35.2857
30 | Nathpa Jhakri (H) | 1500 | 983.4387 | 63.8916 | 41.0731 | 30 | NTPC Vindhyachal Stage III (TH) | 1000 | 864.1582 | 56.1422 | 36.0914
31 | Parbati-2 (H) | 800 | 11.5555 | 0.75074 | 0.48262 | 31 | NTPC Vindhyachal Stage IV (TH) | 1000 | 815.1591 | 52.9589 | 34.045
32 | Parbati-3 (H) | 520 | 59.9816 | 3.8969 | 2.5051 | 32 | NTPC Vindhyachal Stage V (TH) | 500 | 442.4337 | 28.7438 | 18.4782
33 | Pong (H) | 396 | 215.1892 | 13.9803 | 8.9873 | 33 | R.K.M Powergen Private Limited (TH) | 1440 | 783.0252 | 50.8712 | 32.7029
34 | Rampur (H) | 412 | 234.708 | 15.2484 | 9.8025 | 34 | Sasan Power Limited (TH) | 3960 | 3330.6642 | 216.3849 | 139.1046
35 | Sainj (H) | 100 | 58.6803 | 3.8123 | 2.4508 | 35 | SKS Ispat and Power Limited (TH) | 600 | 264.4303 | 17.1794 | 11.0439
36 | Salal (H) | 690 | 395.3139 | 25.6826 | 16.5102 | 36 | The Tata Power Co Ltd (MTPS) (TH) | 4150 | 1627.1687 | 105.7131 | 67.9584
37 | Sewa-II (H) | 120 | 96.2246 | 6.2515 | 4.0188 | 37 | TRN Energy Private Limited (TH) | 600 | 352.0965 | 22.8748 | 14.7052
38 | Singoli Bhatwari (H) | 99 | 61.4289 | 3.9909 | 2.5656 | 38 | DGEN Mega Power Project (G) | 1200 | 55.9262 | 3.6334 | 2.3357
39 | Sorang (H) | 100 | 30.8271 | 2.0028 | 1.2875 | 39 | NTPC Jhanor Gandhar (G) | 657 | 70.6373 | 4.5891 | 2.9502
40 | Tanakpur (H) | 94 | 52.6814 | 3.4226 | 2.2002 | 40 | NTPC Kawas (G) | 656 | 64.6858 | 4.2025 | 2.7016
41 | Tehri (H) | 1000 | 628.4037 | 40.8258 | 26.2452 | 41 | Ratnagiri Gas and Power Private Limited (G) | 1966 | 93.252 | 6.0583 | 3.8947
42 | Uri-1 (H) | 480 | 301.8445 | 19.6101 | 12.6065 | 42 | Sardar Sarovar Project (H) | 1450 | 431.8628 | 28.057 | 18.0367
43 | Uri-2 (H) | 240 | 169.7774 | 11.03 | 7.0907 | [15 empty] | 14384.4985 | 934.525 | 600.766 |  |  |  | 1927.6093 | 125.232 | 80.5063
Sum |  |  | 16185.2293 | 1051.5139 | 675.9732 |  |  |  | 32813.4992 | 2131.8111 | 1370.45 |  |  |  | 13303.6306 | 864.3037 | 555.6238
*FRO shall be nil in case of a control area not having any generation resources
3 issues